## INSPECTION INFORMATION FOR A

# BUILDING PERMIT

### CITY OF PLATTEVILLE, WISCONSIN

#### Inspection Information

(a)	Required Inspections.  Pursuant to the provisions of COMM 61, COMM 20, COMM 82 and Chapter 23 of the Municipal Code, the following inspections are required before work is covered.

(1)	Footing and/or foundation forms, reinforcement and vapor barrier under slab prior to concrete placement.

(2)	Drain tile prior to backfilling.

(3)	Erosion Control.

(4)	Under floor plumbing inspection and testing per COMM 82.

(5)	Rough framing.

(6)	Mechanicals, including plumbing, electrical, and HVAC ductwork and/or venting before application of sheet rock or other material.

(7)	Completed wall insulation.

(8)	Final inspection for Occupancy Permit.

(9)	Any other inspection required per COMM 20, the Uniform Dwelling Code.

(b)	Responsibility to Notify.  It is the contractor’s responsibility or owner’s responsibility if a contractor is not used, to notify the applicable local or state Inspector, either orally or in writing, that work is ready for one or more of the required inspections.  Once notified that an inspection is required, the applicable local or state Inspector shall have 48 hours to conduct the inspection, excluding Saturdays, Sundays and holidays.  If the inspection is not made within 48 hours, work may proceed.

(c)	Voluntary Inspection.  In addition to the inspections called for above, the Building Inspector may make or require any other inspections to ascertain compliance with Chapter 23 and other laws enforced by the Building Inspector.

(d)	Covering of Work.  No installation in any building requiring inspection shall be covered until it has been inspected and/or tested, or the 48-hour notification period has expired.  Inspector approval is required for cover-up anytime during the 48-hour notification period.  If any work is covered before the required inspection is completed, it shall be uncovered at the direction of the Building Inspector.  The City of Platteville shall not be held liable for additional expenses incurred by premature covering of work.

(e)	Reports.  Reports of violations shall be provided to the contractor and/or owner.  All corrections must be made within 30 days, or immediately if the violation could jeopardize the health or safety of the occupants or employees at the job site.  The applicable state or local Inspector may adjust the 30-day compliance requirement if determined appropriate.  Occupancy permits shall be withheld pending correction of cited violations.

## Signature	I have read the above information and agree to comply with the inspection requirements of Section 23 of the Municipal Code of the City of Platteville, which covers regulations regarding building permits.

APPLICANT:									DATE:

###### OFFICE USE ONLY					Permit Number: